1105 – Extended Phase D Services

Extended Phase D Services during the Warranty period for Projects seeking LEED certification

require the Architect-Engineer to:

- Conduct a one year warranty inspection of the Project to determine if remedial work is required to satisfy Project guarantees and warranties.

- Prepare and submit the LEED Construction application to the USGBC in association with the Contractor.

- Respond to the USGBC Construction Review within 25 business days of receipt of review comments.

- Initiate Construction Application Appeal if necessary.

- Assist the Commissioning Authority as necessary.